## readings
SYNTHETIC SAMPLE - fictional meter export for SignalDesk; not from any Gardens by the Bay system
meter_ref | timestamp | point | value | unit
EMS-FDMAHU01 | 2026-10-09T08:00:00+08:00 | voltage_v | 229 | V
EMS-FDMAHU01 | 2026-10-09T08:00:00+08:00 | current_a | 25.7 | A
EMS-FDMAHU01 | 2026-10-09T08:00:00+08:00 | power_kw | 9.26 | kW
EMS-FDMAHU01 | 2026-10-09T08:00:00+08:00 | energy_kwh | 45875.49 | kWh
EMS-FDMAHU01 | 2026-10-09T08:00:00+08:00 | power_factor | 0.908
EMS-FDMAHU01 | 2026-10-09T08:00:00+08:00 | trip_state | 0 | state
EMS-FDMPMP01 | 2026-10-09T08:00:00+08:00 | voltage_v | 231.3 | V
EMS-FDMPMP01 | 2026-10-09T08:00:00+08:00 | current_a | 17 | A
EMS-FDMPMP01 | 2026-10-09T08:00:00+08:00 | power_kw | 6.18 | kW
EMS-FDMPMP01 | 2026-10-09T08:00:00+08:00 | energy_kwh | 37676.89 | kWh
EMS-FDMPMP01 | 2026-10-09T08:00:00+08:00 | power_factor | 0.908
EMS-FDMPMP01 | 2026-10-09T08:00:00+08:00 | trip_state | 0 | state
EMS-SGVDB01 | 2026-10-09T08:00:00+08:00 | voltage_v | 229.5 | V
EMS-SGVDB01 | 2026-10-09T08:00:00+08:00 | current_a | 133.7 | A
EMS-SGVDB01 | 2026-10-09T08:00:00+08:00 | power_kw | 47.57 | kW
EMS-SGVDB01 | 2026-10-09T08:00:00+08:00 | energy_kwh | 55020.97 | kWh
EMS-SGVDB01 | 2026-10-09T08:00:00+08:00 | power_factor | 0.895
EMS-SGVDB01 | 2026-10-09T08:00:00+08:00 | trip_state | 0 | state
EMS-FDMAHU01 | 2026-10-09T08:15:00+08:00 | voltage_v | 230.6 | V
EMS-FDMAHU01 | 2026-10-09T08:15:00+08:00 | current_a | 23.5 | A
EMS-FDMAHU01 | 2026-10-09T08:15:00+08:00 | power_kw | 8.47 | kW
EMS-FDMAHU01 | 2026-10-09T08:15:00+08:00 | energy_kwh | 45877.61 | kWh
EMS-FDMAHU01 | 2026-10-09T08:15:00+08:00 | power_factor | 0.902
EMS-FDMAHU01 | 2026-10-09T08:15:00+08:00 | trip_state | 0 | state
EMS-FDMPMP01 | 2026-10-09T08:15:00+08:00 | voltage_v | 229.6 | V
EMS-FDMPMP01 | 2026-10-09T08:15:00+08:00 | current_a | 16.5 | A
EMS-FDMPMP01 | 2026-10-09T08:15:00+08:00 | power_kw | 5.94 | kW
EMS-FDMPMP01 | 2026-10-09T08:15:00+08:00 | energy_kwh | 37678.38 | kWh
EMS-FDMPMP01 | 2026-10-09T08:15:00+08:00 | power_factor | 0.906
EMS-FDMPMP01 | 2026-10-09T08:15:00+08:00 | trip_state | 0 | state
EMS-SGVDB01 | 2026-10-09T08:15:00+08:00 | voltage_v | 230.3 | V
EMS-SGVDB01 | 2026-10-09T08:15:00+08:00 | current_a | 136.1 | A
EMS-SGVDB01 | 2026-10-09T08:15:00+08:00 | power_kw | 49.62 | kW
EMS-SGVDB01 | 2026-10-09T08:15:00+08:00 | energy_kwh | 55033.38 | kWh
EMS-SGVDB01 | 2026-10-09T08:15:00+08:00 | power_factor | 0.914
EMS-SGVDB01 | 2026-10-09T08:15:00+08:00 | trip_state | 0 | state
EMS-FDMAHU01 | 2026-10-09T08:30:00+08:00 | voltage_v | 231.5 | V
EMS-FDMAHU01 | 2026-10-09T08:30:00+08:00 | current_a | 24.9 | A
EMS-FDMAHU01 | 2026-10-09T08:30:00+08:00 | power_kw | 8.95 | kW
EMS-FDMAHU01 | 2026-10-09T08:30:00+08:00 | energy_kwh | 45879.84 | kWh
EMS-FDMAHU01 | 2026-10-09T08:30:00+08:00 | power_factor | 0.896
EMS-FDMAHU01 | 2026-10-09T08:30:00+08:00 | trip_state | 0 | state
EMS-FDMPMP01 | 2026-10-09T08:30:00+08:00 | voltage_v | 229.7 | V
EMS-FDMPMP01 | 2026-10-09T08:30:00+08:00 | current_a | 16.2 | A
EMS-FDMPMP01 | 2026-10-09T08:30:00+08:00 | power_kw | 5.98 | kW
EMS-FDMPMP01 | 2026-10-09T08:30:00+08:00 | energy_kwh | 37679.87 | kWh
EMS-FDMPMP01 | 2026-10-09T08:30:00+08:00 | power_factor | 0.928
EMS-FDMPMP01 | 2026-10-09T08:30:00+08:00 | trip_state | 0 | state
EMS-SGVDB01 | 2026-10-09T08:30:00+08:00 | voltage_v | 228.3 | V
EMS-SGVDB01 | 2026-10-09T08:30:00+08:00 | current_a | 142 | A
EMS-SGVDB01 | 2026-10-09T08:30:00+08:00 | power_kw | 50.09 | kW
EMS-SGVDB01 | 2026-10-09T08:30:00+08:00 | energy_kwh | 55045.9 | kWh
EMS-SGVDB01 | 2026-10-09T08:30:00+08:00 | power_factor | 0.892
EMS-SGVDB01 | 2026-10-09T08:30:00+08:00 | trip_state | 0 | state
EMS-FDMAHU01 | 2026-10-09T08:45:00+08:00 | voltage_v | 231.1 | V
EMS-FDMAHU01 | 2026-10-09T08:45:00+08:00 | current_a | 26 | A
EMS-FDMAHU01 | 2026-10-09T08:45:00+08:00 | power_kw | 9.48 | kW
EMS-FDMAHU01 | 2026-10-09T08:45:00+08:00 | energy_kwh | 45882.21 | kWh
EMS-FDMAHU01 | 2026-10-09T08:45:00+08:00 | power_factor | 0.911
EMS-FDMAHU01 | 2026-10-09T08:45:00+08:00 | trip_state | 0 | state
EMS-FDMPMP01 | 2026-10-09T08:45:00+08:00 | voltage_v | 229.2 | V
EMS-FDMPMP01 | 2026-10-09T08:45:00+08:00 | current_a | 15.9 | A
EMS-FDMPMP01 | 2026-10-09T08:45:00+08:00 | power_kw | 5.84 | kW
EMS-FDMPMP01 | 2026-10-09T08:45:00+08:00 | energy_kwh | 37681.33 | kWh
EMS-FDMPMP01 | 2026-10-09T08:45:00+08:00 | power_factor | 0.925
EMS-FDMPMP01 | 2026-10-09T08:45:00+08:00 | trip_state | 0 | state
EMS-SGVDB01 | 2026-10-09T08:45:00+08:00 | voltage_v | 230.8 | V
EMS-SGVDB01 | 2026-10-09T08:45:00+08:00 | current_a | 145.7 | A
EMS-SGVDB01 | 2026-10-09T08:45:00+08:00 | power_kw | 52.94 | kW
EMS-SGVDB01 | 2026-10-09T08:45:00+08:00 | energy_kwh | 55059.13 | kWh
EMS-SGVDB01 | 2026-10-09T08:45:00+08:00 | power_factor | 0.909
EMS-SGVDB01 | 2026-10-09T08:45:00+08:00 | trip_state | 0 | state
EMS-FDMAHU01 | 2026-10-09T09:00:00+08:00 | voltage_v | 229.3 | V
EMS-FDMAHU01 | 2026-10-09T09:00:00+08:00 | current_a | 24.7 | A
EMS-FDMAHU01 | 2026-10-09T09:00:00+08:00 | power_kw | 8.89 | kW
EMS-FDMAHU01 | 2026-10-09T09:00:00+08:00 | energy_kwh | 45884.44 | kWh
EMS-FDMAHU01 | 2026-10-09T09:00:00+08:00 | power_factor | 0.906
EMS-FDMAHU01 | 2026-10-09T09:00:00+08:00 | trip_state | 0 | state
EMS-FDMPMP01 | 2026-10-09T09:00:00+08:00 | voltage_v | 229.2 | V
EMS-FDMPMP01 | 2026-10-09T09:00:00+08:00 | current_a | 17 | A
EMS-FDMPMP01 | 2026-10-09T09:00:00+08:00 | power_kw | 6.12 | kW
EMS-FDMPMP01 | 2026-10-09T09:00:00+08:00 | energy_kwh | 37682.86 | kWh
EMS-FDMPMP01 | 2026-10-09T09:00:00+08:00 | power_factor | 0.907
EMS-FDMPMP01 | 2026-10-09T09:00:00+08:00 | trip_state | 0 | state
EMS-SGVDB01 | 2026-10-09T09:00:00+08:00 | voltage_v | 228.7 | V
EMS-SGVDB01 | 2026-10-09T09:00:00+08:00 | current_a | 137.5 | A
EMS-SGVDB01 | 2026-10-09T09:00:00+08:00 | power_kw | 50.27 | kW
EMS-SGVDB01 | 2026-10-09T09:00:00+08:00 | energy_kwh | 55071.7 | kWh
EMS-SGVDB01 | 2026-10-09T09:00:00+08:00 | power_factor | 0.923
EMS-SGVDB01 | 2026-10-09T09:00:00+08:00 | trip_state | 0 | state
EMS-FDMAHU01 | 2026-10-09T09:15:00+08:00 | voltage_v | 229.7 | V
EMS-FDMAHU01 | 2026-10-09T09:15:00+08:00 | current_a | 23.9 | A
EMS-FDMAHU01 | 2026-10-09T09:15:00+08:00 | power_kw | 8.49 | kW
EMS-FDMAHU01 | 2026-10-09T09:15:00+08:00 | energy_kwh | 45886.56 | kWh
EMS-FDMAHU01 | 2026-10-09T09:15:00+08:00 | power_factor | 0.893
EMS-FDMAHU01 | 2026-10-09T09:15:00+08:00 | trip_state | 0 | state
EMS-FDMPMP01 | 2026-10-09T09:15:00+08:00 | voltage_v | 230.6 | V
EMS-FDMPMP01 | 2026-10-09T09:15:00+08:00 | current_a | 15.7 | A
EMS-FDMPMP01 | 2026-10-09T09:15:00+08:00 | power_kw | 5.69 | kW
EMS-FDMPMP01 | 2026-10-09T09:15:00+08:00 | energy_kwh | 37684.29 | kWh
EMS-FDMPMP01 | 2026-10-09T09:15:00+08:00 | power_factor | 0.908
EMS-FDMPMP01 | 2026-10-09T09:15:00+08:00 | trip_state | 0 | state
EMS-SGVDB01 | 2026-10-09T09:15:00+08:00 | voltage_v | 229.7 | V
EMS-SGVDB01 | 2026-10-09T09:15:00+08:00 | current_a | 138.8 | A
EMS-SGVDB01 | 2026-10-09T09:15:00+08:00 | power_kw | 50.86 | kW
EMS-SGVDB01 | 2026-10-09T09:15:00+08:00 | energy_kwh | 55084.42 | kWh
EMS-SGVDB01 | 2026-10-09T09:15:00+08:00 | power_factor | 0.921
EMS-SGVDB01 | 2026-10-09T09:15:00+08:00 | trip_state | 0 | state
EMS-FDMAHU01 | 2026-10-09T09:30:00+08:00 | voltage_v | 231 | V
EMS-FDMAHU01 | 2026-10-09T09:30:00+08:00 | current_a | 24.8 | A
EMS-FDMAHU01 | 2026-10-09T09:30:00+08:00 | power_kw | 9.13 | kW
EMS-FDMAHU01 | 2026-10-09T09:30:00+08:00 | energy_kwh | 45888.84 | kWh
EMS-FDMAHU01 | 2026-10-09T09:30:00+08:00 | power_factor | 0.92
EMS-FDMAHU01 | 2026-10-09T09:30:00+08:00 | trip_state | 0 | state
EMS-FDMPMP01 | 2026-10-09T09:30:00+08:00 | voltage_v | 230.8 | V
EMS-FDMPMP01 | 2026-10-09T09:30:00+08:00 | current_a | 16.5 | A
EMS-FDMPMP01 | 2026-10-09T09:30:00+08:00 | power_kw | 5.86 | kW
EMS-FDMPMP01 | 2026-10-09T09:30:00+08:00 | energy_kwh | 37685.75 | kWh
EMS-FDMPMP01 | 2026-10-09T09:30:00+08:00 | power_factor | 0.888
EMS-FDMPMP01 | 2026-10-09T09:30:00+08:00 | trip_state | 0 | state
EMS-SGVDB01 | 2026-10-09T09:30:00+08:00 | voltage_v | 230 | V
EMS-SGVDB01 | 2026-10-09T09:30:00+08:00 | current_a | 139.3 | A
EMS-SGVDB01 | 2026-10-09T09:30:00+08:00 | power_kw | 51 | kW
EMS-SGVDB01 | 2026-10-09T09:30:00+08:00 | energy_kwh | 55097.17 | kWh
EMS-SGVDB01 | 2026-10-09T09:30:00+08:00 | power_factor | 0.919
EMS-SGVDB01 | 2026-10-09T09:30:00+08:00 | trip_state | 0 | state
EMS-FDMAHU01 | 2026-10-09T09:45:00+08:00 | voltage_v | 229.9 | V
EMS-FDMAHU01 | 2026-10-09T09:45:00+08:00 | current_a | 24.6 | A
EMS-FDMAHU01 | 2026-10-09T09:45:00+08:00 | power_kw | 8.88 | kW
EMS-FDMAHU01 | 2026-10-09T09:45:00+08:00 | energy_kwh | 45891.06 | kWh
EMS-FDMAHU01 | 2026-10-09T09:45:00+08:00 | power_factor | 0.907
EMS-FDMAHU01 | 2026-10-09T09:45:00+08:00 | trip_state | 0 | state
EMS-FDMPMP01 | 2026-10-09T09:45:00+08:00 | voltage_v | 230.7 | V
EMS-FDMPMP01 | 2026-10-09T09:45:00+08:00 | current_a | 16.2 | A
EMS-FDMPMP01 | 2026-10-09T09:45:00+08:00 | power_kw | 5.88 | kW
EMS-FDMPMP01 | 2026-10-09T09:45:00+08:00 | energy_kwh | 37687.22 | kWh
EMS-FDMPMP01 | 2026-10-09T09:45:00+08:00 | power_factor | 0.908
EMS-FDMPMP01 | 2026-10-09T09:45:00+08:00 | trip_state | 0 | state
EMS-SGVDB01 | 2026-10-09T09:45:00+08:00 | voltage_v | 228.9 | V
EMS-SGVDB01 | 2026-10-09T09:45:00+08:00 | current_a | 139 | A
EMS-SGVDB01 | 2026-10-09T09:45:00+08:00 | power_kw | 48.33 | kW
EMS-SGVDB01 | 2026-10-09T09:45:00+08:00 | energy_kwh | 55109.25 | kWh
EMS-SGVDB01 | 2026-10-09T09:45:00+08:00 | power_factor | 0.877
EMS-SGVDB01 | 2026-10-09T09:45:00+08:00 | trip_state | 0 | state
EMS-FDMAHU01 | 2026-10-09T10:00:00+08:00 | voltage_v | 229.1 | V
EMS-FDMAHU01 | 2026-10-09T10:00:00+08:00 | current_a | 24.1 | A
EMS-FDMAHU01 | 2026-10-09T10:00:00+08:00 | power_kw | 8.6 | kW
EMS-FDMAHU01 | 2026-10-09T10:00:00+08:00 | energy_kwh | 45893.21 | kWh
EMS-FDMAHU01 | 2026-10-09T10:00:00+08:00 | power_factor | 0.899
EMS-FDMAHU01 | 2026-10-09T10:00:00+08:00 | trip_state | 0 | state
EMS-FDMPMP01 | 2026-10-09T10:00:00+08:00 | voltage_v | 229.9 | V
EMS-FDMPMP01 | 2026-10-09T10:00:00+08:00 | current_a | 16.4 | A
EMS-FDMPMP01 | 2026-10-09T10:00:00+08:00 | power_kw | 5.84 | kW
EMS-FDMPMP01 | 2026-10-09T10:00:00+08:00 | energy_kwh | 37688.68 | kWh
EMS-FDMPMP01 | 2026-10-09T10:00:00+08:00 | power_factor | 0.894
EMS-FDMPMP01 | 2026-10-09T10:00:00+08:00 | trip_state | 0 | state
EMS-SGVDB01 | 2026-10-09T10:00:00+08:00 | voltage_v | 230.2 | V
EMS-SGVDB01 | 2026-10-09T10:00:00+08:00 | current_a | 142.7 | A
EMS-SGVDB01 | 2026-10-09T10:00:00+08:00 | power_kw | 51.89 | kW
EMS-SGVDB01 | 2026-10-09T10:00:00+08:00 | energy_kwh | 55122.22 | kWh
EMS-SGVDB01 | 2026-10-09T10:00:00+08:00 | power_factor | 0.912
EMS-SGVDB01 | 2026-10-09T10:00:00+08:00 | trip_state | 0 | state

## About
SYNTHETIC SAMPLE
Fictional readings made by data/examples/site/make_samples.py for the SignalDesk demo.
Not from any Gardens by the Bay system, meter or vendor.
Layout read by demo/ingest_excel.py: sheet 'readings', header row meter_ref ¦ timestamp ¦ point ¦ value ¦ unit.
timestamp is ISO text with a UTC offset, e.g. 2026-10-09T08:00:00+08:00. Date cells and naive times are refused.
meter_ref is an alias in the asset_aliases table (EMS- plus the asset ID without hyphens).
Points and units: voltage_v V, current_a A, power_kw kW, energy_kwh kWh, power_factor (no unit), trip_state state.